## Tarrif for upto 5kW
[7 empty] | Electricity rates: | PKR
[7 empty] | 100 units | 5.79
APPLIANCE | TYPE | LOAD | NUMBER | AVERAGE USE | CONSUMPTION | CONSUMPTION | 100-300 units | 8.11
|  | (Watts) |  | (hours/day) | (kWh/day) | (kWh/month) | 300-700 units | 12.33
Incandescent | Bulbs | 200 |  |  |  |  | +700 units | 15.07
Fluorescent Lights | Tube Lights | 40
Compact Fluorescent Lights (Energy savers) | Bulbs | 14
LED Lights | Bulbs | 8
0
No
Not Applicable
APPLIANCE | SIZE | LOAD | NUMBER | AVERAGE USE | CONSUMPTION | CONSUMPTION
| (Ton Capacity) | (Watts) |  | (hours/day) | (kWh/day) | (kWh/month)
Window Air-Conditioner | 2 | 4300
Split Air-Conditioner | 2 | 2800
DC-Inverter Split Air-Conditioner | 2 | 1950
APPLIANCE | SIZE | LOAD | NUMBER | AVERAGE USE | CONSUMPTION | CONSUMPTION
| CFT | (Watts) |  | (hours/day) | (kWh/day) | (kWh/month)
Conventional freezer refrigerator | 10 | 1200
Energy Efficient refrigerator | 10 | 270
APPLIANCE | LOAD | NUMBER | AVERAGE USE |  | CONSUMPTION | CONSUMPTION
| (Watts) |  | (hours/day) |  | (kWh/day) | (kWh/month)
Conventional Ceiling Fans | 120 |  |  | X
DC Motor Ceiling Fans | 22 |  |  | X
APPLIANCE | LOAD | NUMBER | AVERAGE USE |  | CONSUMPTION | CONSUMPTION
| (Watts) |  | (hours/day) |  | (kWh/day) | (kWh/month)
Electric iron | 800 |  |  | X
Toaster | 750 |  |  | X
Microwave oven | 1100 |  |  | X
Water dispenser | 25 |  |  | X
Washing machine | 700 |  |  | X
Desert Cooler (medium) | 200 |  |  | X
Electric heater | 1500 |  |  | X
TV | 150 |  |  | X
Computer | 100 |  |  | X
DVD Player | 40 |  |  | X
0
0
0
Electricity rates: | PKR
100 units | 5.79
100-300 units | 8.11
300-700 units | 12.33
+700 units | 15.07
ELECTRICITY CONSUMPTION CALCULATOR
LIGHTING
AIR-CONDITIONERS
LIGHTING
REFRIGERATORS
CEILING FANS
LIGHTING LOAD WITH LIGHTING CONTROL
MISCELLANEOUS
TOTAL ELECTRICITY CONSUMPTION (UNITS/MONTH)
TOTAL ELECTRICITY BILL
TOTAL LIGHTING LOAD
LIGHTING CONTROL (OCCUPANCY SENSORS, PHOTO SENSORS) IN USE?
BASED ON ELECTRICITY TARRIF SANCTIONED FOR LOADS UPTO 5kW

## Time usage Tarrif (>5kW)
[7 empty] | Electricity rates: | PKR
[7 empty] | Off peak hours (11 pm-6pm) | 8.22
[7 empty] | Peak hours (6pm- 11pm) | 13.99
APPLIANCE | TYPE | LOAD | NUMBER | AVERAGE USE | CONSUMPTION | CONSUMPTION
|  | (Watts) |  | (hours/day) | (kWh/day) | (kWh/month)
Incandescent | Bulbs | 200
Fluorescent Lights | Tube Lights | 40
Compact Fluorescent Lights (Energy savers) | Bulbs | 14
LED Lights | Bulbs | 8
0
No
Not Applicable
APPLIANCE | SIZE | LOAD | NUMBER | AVERAGE USE | CONSUMPTION | CONSUMPTION
| (Ton Capacity) | (Watts) |  | (hours/day) | (kWh/day) | (kWh/month)
Window Air-Conditioner | 2 | 4300
Split Air-Conditioner | 2 | 2800
DC-Inverter Split Air-Conditioner | 2 | 1950
APPLIANCE | SIZE | LOAD | NUMBER | AVERAGE USE | CONSUMPTION | CONSUMPTION
| CFT | (Watts) |  | (hours/day) | (kWh/day) | (kWh/month)
Conventional freezer refrigerator | 10 | 1200
Energy Efficient refrigerator | 10 | 270
APPLIANCE | LOAD | NUMBER | AVERAGE USE |  | CONSUMPTION | CONSUMPTION
| (Watts) |  | (hours/day) |  | (kWh/day) | (kWh/month)
Conventional Ceiling Fans | 120 |  |  | X
DC Motor Ceiling Fans | 22 |  |  | X
APPLIANCE | LOAD | NUMBER | AVERAGE USE |  | CONSUMPTION | CONSUMPTION
| (Watts) |  | (hours/day) |  | (kWh/day) | (kWh/month)
Electric iron | 800 |  |  | X
Toaster | 750 |  |  | X
Microwave oven | 1100 |  |  | X
Water dispenser | 25 |  |  | X
Washing machine | 700 |  |  | X
Desert Cooler (medium) | 200 |  |  | X
Electric heater | 1500 |  |  | X
TV | 150 |  |  | X
Computer | 100 |  |  | X
DVD Player | 40 |  |  | X
0
APPLIANCE | TYPE | LOAD | NUMBER | AVERAGE USE | CONSUMPTION | CONSUMPTION
|  | (Watts) |  | (hours/day) | (kWh/day) | (kWh/month)
Incandescent | Bulbs | 200
Fluorescent Lights | Tube Lights | 40
Compact Fluorescent Lights (Energy savers) | Bulbs | 14
LED Lights | Bulbs | 8
0
Yes
0
APPLIANCE | SIZE | LOAD | NUMBER | AVERAGE USE | CONSUMPTION | CONSUMPTION
| (Ton Capacity) | (Watts) |  | (hours/day) | (kWh/day) | (kWh/month)
Window Air-Conditioner | 2 | 4300
Split Air-Conditioner | 2 | 2800
DC-Inverter Split Air-Conditioner | 2 | 1950
APPLIANCE | SIZE | LOAD | NUMBER | AVERAGE USE | CONSUMPTION | CONSUMPTION
| CFT | (Watts) |  | (hours/day) | (kWh/day) | (kWh/month)
Conventional freezer refrigerator | 10 | 1200
Energy Efficient refrigerator | 10 | 270
APPLIANCE | LOAD | NUMBER | AVERAGE USE |  | CONSUMPTION | CONSUMPTION
| (Watts) |  | (hours/day) |  | (kWh/day) | (kWh/month)
Conventional Ceiling Fans | 120 |  |  | X
DC Motor Ceiling Fans | 22 |  |  | X
APPLIANCE | LOAD | NUMBER | AVERAGE USE |  | CONSUMPTION | CONSUMPTION
| (Watts) |  | (hours/day) |  | (kWh/day) | (kWh/month)
Electric iron | 800 |  |  | X
Toaster | 750 |  |  | X
Microwave oven | 1100 |  |  | X
Water dispenser | 25 |  |  | X
Washing machine | 700 |  |  | X
Desert Cooler (medium) | 200 |  |  | X
Electric heater | 1500 |  |  | X
TV | 150 |  |  | X
Computer | 100 |  |  | X
DVD Player | 40 |  |  | X
0
0
0
Electricity rates: | PKR
Off peak hours (11 pm-6pm) | 8.22
Peak hours (6pm- 11pm) | 13.99
ELECTRICITY CONSUMPTION CALCULATOR
LIGHTING
AIR-CONDITIONERS
LIGHTING
REFRIGERATORS
CEILING FANS
LIGHTING LOAD WITH LIGHTING CONTROL
MISCELLANEOUS
Electricity Consumption for Off- peak hours (UNITS/MONTH)
TOTAL ELECTRICITY BILL
TOTAL LIGHTING LOAD
LIGHTING CONTROL (OCCUPANCY SENSORS, PHOTO SENSORS) IN USE?
BASED ON ELECTRICITY TARRIF FOR SANCTIONED LOADS EXCEEDING 5kW
TABLE 1: FOR OFF PEAK HOURS ( 11 pm - 6 pm) - 19 hours
LIGHTING
AIR-CONDITIONERS
LIGHTING
REFRIGERATORS
CEILING FANS
LIGHTING LOAD WITH LIGHTING CONTROL
MISCELLANEOUS
Electricity Consumption for Peak hours (UNITS/MONTH)
TOTAL LIGHTING LOAD
LIGHTING CONTROL (OCCUPANCY SENSORS, PHOTO SENSORS) IN USE?
TABLE 2: FOR PEAK HOURS ( 6 pm - 11 pm) - 5 hours
TOTAL ELECTRICITY CONSUMPTION (UNITS/MONTH)

## Sheet2
Incandescent Bulbs |  |  | LEDs | Bulbs | 3 | Bulb
60 |  |  |  |  | 4 | Spot Light
80 |  |  |  |  | 5 | Tube Light
100 |  |  |  |  | 6
125 |  |  |  |  | 7
200 |  |  |  |  | 8
9
Tube Lights |  |  |  |  | 10
18 |  |  |  |  | 12
40 |  |  |  |  | 16
60 |  |  |  |  | 18
|  |  |  | Spot Lights | 20
Compact Flouresecent Energy Saver Bulbs |  |  |  |  | 25
8
10
12 |  |  |  | CFR
14 |  |  |  | 10
18 |  |  |  | 20
23 |  |  |  | EER
25 |  |  |  | 10
28 |  |  |  | 20
40
45
Acs
Window
1.5
2
Split | Options
1 | Yes
1.5 | No
2
DC Inver
1
1.5
2
Consumption | Months | Conventional Ceiling Fan
0 | 1 | 120
0.5 | 2 | 150
1 | 3
2 | 4
3 | 5
4 | 6
5 | 7
6 | 8
7 | 9
8 | 10
9 | 11
10 | 12
11
12
13
14
15
16
17
18
19
20
21
22
23
24